History of Structures                  Feb 7th

Post and Lintel.
Rigid Frame (Monolithically- Structure acts as one)

-with a load on top
       -top(Lintel) droops down

-posts want to move outwards
          -need weight at bottom keeping it from doing so. Thrust inwards

3 conscequences from rididly connecting horizontal and vertical beams.
  - Beam has partially restrained ends and becomes more rigid, thus supporting more load
 -The colomns are subjected not only to the compressive loads of the roof and of their own weight, but also to Bending Stresses due to the continuity with the beam

-additional load

-A new horizontal force is required to maintain the fram in the equilibrium under vertical loads, the Thrust, which brings back the column to their vertical position, and introduces compression in the beam. This Thrust is typical of frame action.

-can be provided by the foundation, by the natural buttressing action of the rock, or by a tie-rod (connects the beam a to beam b so they cant open up-Tension)

Inflection Point- point where stress goes from tension to compression
                              - therefor there is no stress at point
                              -a metaphorical hinge

Fixed frame is stiffer than Hinged Frame