An Introductory Experiment					           Diana Nguyen

May 14, 2014

9A Wednesday

301190998

Purpose: To introduce proper laboratory techniques and introduce several tools necessary for work in the lab.

Table of Reagents:

| Reagent | Chemical Formula | Molar mass (g/mol) | Density (g/mL) | Melting Point (°C) | Boiling Point (°C) |
| --- | --- | --- | --- | --- | --- |
| Potassium Permanganate | KMnO4 | 158.034 | 2.70 | 240 |  |
| Sodium Hydroxide | NaOH | 39.997 | 2.13 | 318 | 1388 |
| Water | H2O | 18.015 | 1.00 | 0 | 100 |

Procedure:

Using an Analytical Balance:

- Obtain five pennies, an aluminum cylinder and forceps

- Carefully tare the analytical balance, weigh the five pennies, label and record weight

- Determine the total mass of the five pennies

- Remove a penny, record the weight, and repeat

- Find mass of the aluminum cylinder, record weight

Making Quantitative Transfers

- Weigh a 50mL beaker, tare it, then add approximately 0.05g KMnO4

- Dissolve the permanganate with 20mL DI water

- Transfer the solution to a 100mL volumetric flask using a glass rod to avoid spilling, repeat until no trace of colour is present in the beaker

- Rinse beaker, rod, and funnel into the flask, and top it with water until the graduation mark

- Stopper, repeatedly invert flask to mix the solution (10 times is adequate)

Delivering an Aliquot

- Fill a pipet with KMnO4 solution and let it drain

- Rinse internal surfaces with DI until colour disappears, determine the minimum number of rinsings required

- Repeat last two procedures, but collect rinsing solution and determine the minimum volume required instead

- Pipet 10mL of the KMnO4 solution into a 250mL volumetric flask

- Carefully dilute solution to the graduation mark, invert repeatedly to mix

- Rinse the pipet with the solution in the flask, pipet 10mL into a conical flask

Calibrating a Pipet

- Clean a 10mL pipet, making sure no droplets are left inside

- Determine the mass of a bottle and stopper and record the weight

- Obtain DI water in a beaker and record its temperature

- Pipet 10mL of water into the bottle, close it, and record weight; repeat until four consecutive masses of water are withing 0.02g of each other

- Correct mass for buoyancy, calculate volume of the pipet in mL

- Report mean, standard deviation, and relative standard deviation

Buret Reading

- Obtain five burette sections, record each reading to the nearest 0.02/0.05mL

Using and Reading a Burette

- Setup a burette, fill with DI water, remove any air bubbles, and check if it drains without leaving droplets on the walls

- Weight a plastic bottle with stopper

- Take initial burette reading, drain 10mL into the bottle, take final reading to the nearest 0.05mL and weight the bottle to determine mass, then repeat a few times

- Refill the burette, take new zero reading, add 30 drops into a Erlenmeyer flask, take a final reading, and determine the mean volume of one drop

- Repeat last step with 40 drops

- Practice adding some half drops and calculate the mean of one half drop and compare with one full drop

Data and Calculations

Using the Analytical Balance

| Penny Number | Mass of Penny |
| --- | --- |
| 1 | 2.2278g ± 0.0002g |
| 2 | 2.3534g ± 0.0002g |
| 3 | 2.2557g ± 0.0002g |
| 4 | 2.3661g ± 0.0002g |
| 5 | 2.3852g ± 0.0002g |
| Total Mass | 11.5883g ± 0.0002g |

| Number Pennies | Mass |
| --- | --- |
| Total Mass (5) | 11.5883g ± 0.0002g |
| 4 pennies | 9.2031g ± 0.0002g |
| 3 pennies | 6.8370g ± 0.0002g |
| 2 pennies | 4.5812g ± 0.0002g |
| 1 pennies | 2.2278g ± 0.0002g |
| 0 pennies | 0.0000g ± 0.0002g |

*took penny #5 off first, then #4, etc

| Penny Number | Mass of Penny from difference weighing |
| --- | --- |
| 1 | 2.2278g ± 0.0003g |
| 2 | 2.3534g ± 0.0003g |
| 3 | 2.2558g ± 0.0003g |
| 4 | 2.3661g ± 0.0003g |
| 5 | 2.3852g ± 0.0003g |

Penny #5 = Total mass – 4 pennies = 11.5883g – 9.2031g = 2.3852g

Error= e12+e22 = (0.0002)2+(0.0002)2 = 0.0003g

| Mass of aluminum cylinder | 11.1536g ± 0.0002g |
| --- | --- |

Making Quantitative Transfers

| Item | Data |
| --- | --- |
| Mass of 50 mL beaker | 29.3161g ± 0.0002g |
| Mass of KMnO4 | 0.0491g ± 0.0002g |
| Number of washings | 3 |

Calibration of a 10-mL Pipette

| Item | Mass |
| --- | --- |
| Empty Bottle + stopper | 14.6467g ± 0.0002g |
| Bottle + stopper + 10 mL water | 24.5928g ± 0.0002g |
| Bottle + stopper + 20 mL water | 34.5417g ± 0.0002g |
| Bottle + stopper + 30 mL water | 44.4995g ± 0.0002g |
| Bottle + stopper + 40 mL water | 54.4505g ± 0.0002g |

| Number of Additions of 10mL | Mass of Volume of Pipet from Difference Weighing |
| --- | --- |
| 1 | 9.9461g ± 0.0003g |
| 2 | 9.9498g ± 0.0003g |
| 3 | 9.9578g ± 0.0003g |
| 4 | 9.9510g ± 0.0003g |

Temperature of Water = 23°C

Buoyancy Correction of Water:

m=m'(1-dadw)1-dadw = 9.9512(1-0.00128.0)1-0.00121.33 = 9.9512mL

Volume of water in pipet:

Density of water corrected to 20°C (1.0035mL/g)

Volume of water = 9.9512 * 1.0035 = 9.9860mL

Mean = volume# of additions = 9.9461g± 0.0003g+9.9498g± 0.0003g+9.9578g± 0.0003g+9.9510g± 0.0003g4 =9.9512g ± 0.0006g

S= (x-mean)2n-1 = ±0.00488g

Relative Standard Deviation = standard deviationmean×100%= 0.00488g9.9512g×100% = 0.05%

Calibration of a 50-mL Burette

| Item | Mass |
| --- | --- |
| Empty Bottle + stopper | 14.5877g ± 0.0002g |
| Bottle + stopper + 10 mL water | 24.4338g ± 0.0002g |
| Bottle + stopper + 20 mL water | 33.1459g ± 0.0002g |
| Bottle + stopper + 30 mL water | 43.1567g ± 0.0002g |
| Bottle + stopper + 40 mL water | 53.1123g ± 0.0002g |

| Reading | (mL) |
| --- | --- |
| 1 | 0.90mL ± 0.05mL |
| 2 | 10.90mL ± 0.05 mL |
| 3 | 20.90mL ± 0.05 mL |
| 4 | 30.90mL ± 0.05 mL |
| 5 | 40.90mL ± 0.05 mL |

Initial reading: 0.60ml ± 0.05mL

Reading after 30 drops: 2.15mL ± 0.05mL	Volume (30 drops) = 1.55mL ± 0.07mL

Reading after 40 drops: 2.65mL ± 0.05mL	Volume (40 drops) = 2.05mL ± 0.07mL

Mean Volume = Volume (mL)# of drops = 1.55mL ± 0.07mL30 = 0.052mL

| Number of Drops | Mean Volume (mL) |
| --- | --- |
| 30 | 0.052mL ± 0.002mL |
| 40 | 0.051mL ± 0.002mL |

Initial reading: 2.65mL ± 0.05mL

Final reading: 2.95mL ± 0.05mL

Volume = Final reading – Initial reading = 2.95mL – 2.65mL = 0.3mL

Error = e12+e22 = (0.05)2+(0.05)2 = 0.07mL

Number of half-drops: 10

Mean Volume = Volume (mL)# of half drops = 0.3mL ± 0.07mL10 = 0.030mL ± 0.002mL

Data Analysis:

Comparing the mean volume of full drops to half drops, the mean volume of half drops is only 0.02mL off from the mean volume of full drops, and is 0.005mL off from being close to a half drop, which would theoretically be 0.025mL.

Conclusion:

In this lab, tools, such as analytical balances, pipets, and burettes, were introduced, as well as the proper techniques on how to use them. The procedure was designed to introduce the proper techniques on how to use these tools properly and how to clean them efficiently.