Carleton University

Laboratory Report

Course #:	PHYS-1004						Experiment #:3

Introduction to the Oscilloscope

Student Name

Student Number

Date Performed:

Date Submitted:

Lab Period:

Partner:

Station #:

TA:

## Purpose

The purpose of this lab was to formulate a base knowledge of how to use oscilloscope and function generator. This was done by creating numerous functions and a circuit, and measuring their voltage in volts compared to time in milliseconds. This also allowed us to observe how functions behave differently dependent on their frequency and the difference between AC and DC functions.

## Theory

In the first part of the lab we were tasked with comparing the frequency calculated by the function generator and the oscilloscope. This was done by creating a sine function on the generator and finding the associated frequency.

f=1/T

Where f is the frequency in hertz (Hz) and T is the length of the period in seconds (s). However for this lab we calculated the frequency by connecting the oscilloscope to the function generator and recording the value given.

Due to the large difference in frequency between our frequency for trial #1 and #5, ln was used to create a smaller dispersion.

ln⁡(fgen1Hz) and ln⁡(fosc1Hz)

Where fgen is the measured frequency by the function generator and fosc is the frequency measured by the oscilloscope.

The error for the ln functions then becomes,

σln=σxx

Where x is the frequency value in Hz and σx is the error on x.

For the second part we needed to calculate the peak-to-peak voltage (Vpp) this can be measured by the following equation.

Vpp=Max-Min

Where max is the highest point on the wave and min is the lowest.

We also needed to calculate the root mean square voltage which can be done with the following formula solely if the function is a sine wave.

Vrms=Vpp22

For the third part we had to calculate the quality factor, Q, which can be done with the following equation.

Q=VDC-VRVDC

Where, VDC , is the average value of a Direct Current of a circuit containing a diode, and VR is the peak-to-peak voltage of the Alternating current of the same circuit. Alternatively, the equation can be written as.

Q=Vavg-VppVavg

And the error for the quality factor can be found with:

σQ=Q(σVavgVavg)2+ (σVppVpp)2

Where Q is the calculated quality factor, σVavgis the error on Vavg   and σVppis the error on Vpp.

## Apparatus

The apparatus used for this lab was a DK precision function generator which was used to generate the sinusoidal functions for parts 1 and 2, as well as to measure the frequency of the functions. A circuit board to create a circuit used in parts 3 to create the 4 graphs. A diode that was added in for certain sections of part 4. A Rigol DS1052E digital oscilloscope, used to calculate frequencies, view graphs and find values such as Vavg ,Vrms , VDmm and Vpp . And finally, a laptop running Logger-Pro which was used to create figure 5 and compare the frequencies calculated by the oscilloscope and function generator.

Figure 1: Work Station for oscilloscope lab

The DK precision Function generator had an error of 2 in the last stable digit.

The Rigol DS1052E digital oscilloscope had an error of 2 in the last stable digit.

Figure 4: Circuit board containing diode

Figure 2: Rigol DS1052E Oscilloscope

Figure 3: DK Precision Function generator

Observations

Table 1: Frequencies to ln

| 𝑓𝐺𝐸𝑁 ± 𝜎𝑓𝐺𝐸𝑁 | 𝑓𝑂𝑆𝐶 ± 𝜎𝑓𝑜𝑠𝑐 | 𝑙𝑛 ( 𝑓𝐺𝐸𝑁 /1Hz) ±𝜎𝑙𝑛(𝑓𝐺𝐸𝑁) | 𝑙𝑛 ( 𝑓𝑜𝑠𝑐 /1 Hz) ± 𝜎𝑙𝑛(𝑓𝑜𝑠𝑐) |
| --- | --- | --- | --- |
| 61 ± 2 Hz | 62 ± 2 Hz | 4.111 ± 0.033 | 4.127 ± 0.032 |
| 589 ± 2 Hz | 580 ± 20 Hz | 6.378 ± 0.003 | 6.363 ± 0.034 |
| 5700 ± 200 Hz | 5700 ± 200 Hz | 8.648 ± 0.035 | 8.648 ± 0.035 |
| 63000 ± 2000 Hz | 62000 ± 2000 Hz | 11.035 ± 0.032 | 11.035 ± 0.032 |
| 630000 ± 20000 Hz | 610000 ± 20000 Hz | 13.353 ± 0.032 | 13.321 ± 0.033 |

| Output knob position | Vrms ± σVrms | VDmm ± σDmm | Vpp ± σVpp |
| --- | --- | --- | --- |
|  | 1.92 ± 0.02 V | 1.880 ± 0.02 V | 5.61 ± 0.2 V |
|  | 4.29 ± 0.2 V | 4.178 ± 0.02 V | 12.4 ± 0.2 V |
|  | 7.06 ± 0.2 V | 6.879 ± 0.02 V | 20.4 ± 0.2 V |

Table 2: Different frequencies effect on Vrms, Vdmm and Vpp

## Calculations

Q=VDC-VRVDC

Q=3.05-0.173.05

Q=0.94

σQ=Q(σVDCVDC)2+(σVRVR)2

σQ=0.94 (0.23.05)2+ (0.010.17)2

σQ=0.94 0.00429+0.00346

σQ=0.94 x 0.08803

σQ=0.08

## Results

Throughout this lab only many calculations were made to eventually solve for the quality factor and its error. The first calculation was the frequency using the oscilloscope and the function generator and their respective errors. The frequencies and their errors were then replaced with unit-less values using ln and graphed in figure 5. Ideally the slope of the line comparing the two values by each method would have been 1 with a y intercept at 0. However because we did not get identical frequencies from the generator and oscilloscope the slope was 0.9958 ± 0.001566 with the y intercept at 0.02725 ± 0.01457.

We then calculated the Vrms  , VDmm and Vpp at three separate frequencies as seen in table  2, to observe how different frequencies affect each answer. It was found that the values increased as the frequencies increased. It was also found that a quarter turn of the output knob in a clockwise direction increased the Vrms by 2.45 ± 0.1 V, the VDmm by 2.5 ± 0.2 V and the Vpp by 7 ± 1V.

Finally, we built a circuit and using the different graphs illustrating the voltage, we found the Vavg and Vpp which were used to calculate the quality factor. The desired quality factor was 0.95 and our calculated Q factor was 0.94 ± 0.82.

## Discussion

During this lab we looked at how the different techniques and tools that can be used with a oscilloscope. We started by comparing the frequencies calculated by the oscilloscope and function generator, for the most part both devices had similar accuracy. However for the first and second trials the function generator was more accurate, then once the frequencies got into the thousands both the oscilloscope and function generator had similar calculated frequencies and the same errors. For the majority of the trials the oscilloscope returned lower values than the function generator. The desired results for this section of the lab was to obtain the same frequencies for each trail from both the function generator and oscilloscope making the line of best fit on figure 5 a straight line with a slope of 1. However, when completing the lab we only got the same values once, this may have been due to the value we had chosen to be our last stable digit. Our line of best fit had a slope of 0.9958 ± 0.001566 which is extremely close to the desired slope. The slope shows how close the frequencies calculated were to each other and because ours is near 1 that means that they were very close to each other for every trial. Before graphing the data we transfered all the frequencies to a ln value because our frequencies ranged from 61 to 630000 which would have created an exponential line making it harder to analyze.

For the second part of this lab we learned how to use the oscilloscope to calculate certain values for us such as Vpp, VDmm and VRms along with others. This is important because these values help to solve for other unknowns such as the quality factor (Q), which was needed in part 3. Along with figuring out how to display these values on the oscilloscope we were also able to figure out a connection between changing the frequency and their respective values.

Finally, for the third part we created a circuit and graphed 4 different  situations involving the circuit. In Figure 6, the top left graph represents the voltage in the circuit, it is a sine function showing that the voltage is constintly changing from positive and negative.

The second graph, top left, shows the effects of a diode on the system without a capacitor. Those effects being eliminating the negative portion of the sinusodal function. Diodes only allow current to pass through in one direction, therefore we can conclude that in our lab experiment the positive current is traveling in the direction that the diode allows to pass through. Because the diode only allows the positive voltage to pass through while stopping negative voltage.  If we were to turn the diode around then only then only the negative portion of the sinusodal function would be shown, because the positive portion would be blocked.

The third graph, on the bottom left, shows the effects of both the diode and capacitor in the system. This graph is shown in direct current as opposed to alternative current, shown in the other graphs. The third graph shows the voltage slowly being lost and then quickly replenished by the capacitor. This graph was important because it was used to calculate the Vavg, the distance from 0 in the y axis to the average voltage. This value is important because it allows us to calculate the quality factor.

Lastly, the forth graph shows the same system as the third graph just in alternative current and zoomed in further. Similarly, you can see the voltage going down uniformly followed by a sharp spike returning the voltage to the initial voltage. We used this graph to calculate the peak-to-peak voltage which is the second value needed to calculate the quality factor.

With the Vavg and Vpp we calculated the quality factor and recieved a value of 0.94 ± 0.083 which was close to the expected value of 0.95.