Carleton University

Laboratory Report

Course #: PHYS-1004						Experiment #: 3

Introduction to oscilloscope

Date Performed: 16th March 2015

Date Submitted: 23rd March 2015

Lab Period:

Partner:

Station #: 6

TA:

PURPOSE:

The lab was split into three different sections and each section had it exclusive steps to follow. In Part A, we used a function generator and an oscilloscope to measure frequency. Frequency measurement from both the function generator and oscilloscope were taken, their values compared and reading errors were also taken into consideration.

Part B of the experiment required that we use the oscilloscope to find various voltages and then the values are compared with the values gotten from a digital multimetre.

In Part C of the experiment, a circuit containing a diode, resistor, and a capacitor was constructed, and then various measurements were observed and taken using both the oscilloscope and digital multimetre. Graphs were then plotted based on the images obtained from the oscilloscope. We were also asked to measure the Q value.

THEORY:

Part A:

The experiment is directed to show how frequencies taken from the function generator and oscilloscope are related and if well calibrated, both frequencies should be identical or the same. Hence, frequency(generator) = frequency(oscilloscope). In this part of the experiment various sets of frequencies which differed by a factor of 10 different ranges on the frequency generator was measured, and reading errors taken. The graph of ln(freq. Gen) vs ln(freq. Oscill) was then plotted.

Part B:

This part of the experiment was focused on voltages rather than the frequencies of the signal. The “Peak-to-Peak” voltage or the difference between the minimum and maximum of the Sine function was then measured. Then we solved for the Root-Mean-Square (RMS) using given formulas. A digital multimetre is then used on the AC setting to find the RMS voltage. The values obtained were recorded.

Part C:

Alternating Current (AC) being provided by the function generator was then converted to Direct Current (DC) by building a single phase half wave rectifier in a circuit. A diode is used is used o rectify the signal and the capacitor is used to smooth it out. A resistor is also connected in parallel with the capacitor. Later, the capacitor is then disconnected from the circuit and then another cable is connected to the oscilloscope providing different wave forms. Waveforms included sine wave, etc. Q or the Quality factor is then calculated suing formulas found in the appendix.

APPARATUS:

>The Rigol DS1052E digital Oscilloscope:

The oscilloscope basically displays the waveform of the signal that it receives. It also possesses various function that aid in the better understanding of the diagram. Functions that show information like: the various peaks and their values. It measures voltage from 0Ω to 1MΩ 15pF 300 V RMS CAT.it also possesses 2 Analog channels plus external trigger, 1 Million point deep memory1 GSa/sec max sample rate, 5.7” TFT QVGA (320X240) with 64K color LCD backlit display, and Trigger modes: edge, pulse width, slope, video, pattern, continuous time, and alternate.

> Function Generator:

This was used to provide the signal to the oscilloscope and later to the circuit for an alternating current later on in the experiment. The Frequency and output level varied amd was between the range of 5Hz to 5MHz.

> BNC cables and Alligator Clips

These were used to connect to the oscilloscope and the function generator and also to construct the circuit for later in Part C.

> Capacitor and Resistor:

The capacitor had a capacitance of 50 micro Farads and the resistor had a resistance of 10 Kilo Ohms. Both were connected in parallel to the circuit late on in part C as seen below .

>Diode

The diode was used to rectify the AC Current

OBSERVATION:

Part A:

After the initial frequency was set to approximately 60Hz, it was then increased steadily by a factor of 10 another set of frequencies. The different frequencies were measured from both the function generator and oscilloscope. A sum of 5 frequencies and their reading errors were obtained, ranging from 60Hz to 600KHz. below is a table showing the observed data:

| Fgen ± σ(fgen) (Hz) | Fosc ± σ(fosc) (Hz) | Ln(fgen/1Hz) ± σln(fgen) | Ln(fosc/1Hz) ± σln(fosc) |
| --- | --- | --- | --- |
| 61 ± 2.0 | 60 ± 0.020 | 4 ± 0.03 | 4 ± 0 |
| 570 ± 2.0 | 570 ± 20 | 6 ± 0.003 | 6 ± 0.04 |
| 5700 ± 20 | 5700 ± 2.0 | 9 ± 0.004 | 9 ±0 |
| 55000 ± 200 | 54000 ± 20 | 11 ± 0.004 | 11 ± 0 |
| 590000 ± 2000 | 5900000 ± 20000 | 13 ± 0.003 | 13 ± 0.03 |

Fig.2: Frequency and Error recordings observed from function generator and Oscilloscope.

Part B:

Following the previous step, three new values namely Vpp, Vrms, and Vdmm were measured and recorded. This values represented the Peak-to-peak voltage, Root mean square value value, and Vdmm is the voltage measured by the multimetre.

| Vpp ± σ(Vpp) (V) | Vrms ± σ(Vrms) (V) | Vdmm ± σ(Vdmm) (V) |
| --- | --- | --- |
| 2.00± 0.020 | 0.67 ± 0.0020 | 0.66 ± 0.0020 |
| 6.4± 0.020 | 2.2± 0.020 | 2.2± 0.02 |
| 11± 0.20 | 3.8 ± 0.020 | 3.8± 0.0020 |

Fig.3: Vpp, Vrms and Vdmm voltages  from the Oscilloscope.

Part C:

The observed values and components for this section is seen on the appendix.

RESULTS:

From part A, the slope obtained from the graph of ln(fosc) V ln(fgen) was: 1.0 ± 0.0008.

In part B, the values observed were recorded and there were no significant results.

Furthermore, the results from Part C are as follows:

Vdc = (4.4 ± 0.020)V    Vpp = (0.36 ± 0.020)V. Q or the Quality factor was calculated to be 0.9 ± 0.006.

DISCUSSION:

The results obtained from various sections of the lab were reasonable accurate. The values of frequencies from both the function generator and the oscilloscope in part A should be identical, but wasn’t in this case. This was due to systematic and physical error sources that accumulated through the lab. Personal errors like failure to set up the circuit accordingly, or improper reading of values also added to the errors obtained. External and internal sources of errors like temperature, humidity, and resistance of the cables used also played a huge role in the whole experiment. Possible improvements to this lab include, giving longer time to those participating in the experiment, a better understanding of how the various apparatus work should be taught to students and also, a larger work bench should be used in this experiment. The applications and uses of this lab are seen in everyday life, like in television and broadcasting, military radios for communication, and also in the creation of sound or music. In conclusion, the purpose of the lab was achieved.