Part A

- 2kHz Sine Wave Analysis:

Figure 1-Plot of 2kHz sine wave

- Frequency = 2.083kHz

Vpp=3.945V

- VRMS=0.3535*Vpp     Eq.1VRMS=Vpp/22

VRMS(Calculated) =1.395V

VRMS(ACTUAL)=1.351V

The actual value was slightly lower as to be expected.

- 1kHz Square Wave Analysis

Figure 2 Square Wave

- VDC=0.9937V

To Calculate the time avg voltage we will use

Eq.2Vav=Vmax-Vmin2

In order to obtain the Vmax and Vmin the SciDavis plotting software was used.

Vav=2.0728-(-0.08442

Vav=1.0786V

Comparing this with our VDC value this is slightly high but still an accurate result.

- VRMS(recorded)=1.396V

To calculate The VRMS of a square wave

Eq.3      VRMSSquare-wave=Vmax-Vmin2

VRMSSquare-wave=1.524V

This time for the square wave the value is slightly larger.

- Since the AC voltage uses a blocking capacitor to remove the DC component of the signal before calculating the RMS voltage, here the calculation of the AC voltage is as follows:

Eq.4    VRMSAC=(VSquare-VDC)/(2)

VRMSAC=2.0728-0.99/(2)

VRMSAC=0.7657V

Eq.5 Vav=1T0Tvtdt

Substituting Vmax from Scidavis software and taking into account the 20% duty cycle we get:

Vav=1T00.2T2.00845V dt

Vav=1T*2.00845*0.2T

Vav=0.4017V

VDC=0.36089V

The value we calculated is slightly higher than the value obtained from the DMM as the value of the duty cycle is less than 50%.

Eq.6    VRMS=VpDuty Cycle

VRMS=2.008450.2

VRMS=0.0899V

Comparing this with the value from the DMM(VRMS=880.61mV), the value we calculated came out to be a bit higher but the percentage error is very minimal making this a good result.

- VAC=0.79738V

Eq.7    VRMSAC=(VRect-VDC)) /2

VRMSAC=2.00845V-0.36089V) /2

VRMSAC=1.165V

- The first two peaks have powers of 1.15 dB and -3.0076 dB

Peak 1:

Eq.8               dBV1=20logDCoffset1V

dBV1=20log1

dBV1=0dB

The measured value was greater than the calculated value as the DC offset is not perfect and was most likely more than 1V.

Peak 2:

The Second peak can be calculated using the same equation but with subbing in the amplitude for DC offset.

Eq.9            dBv2=20log⁡(A1V)

dBv2=20log⁡(1V1V)

dBv1=dBv2=0dB

The theoretical value for dBv2 is the same as the first one and is also greater than the experimental value. The difference can be attributed to the amplitude of the sine wave being less than 1V.

Peak 1 magnitude = 2.19323 dBm

Peak 2 magnitude = -0.84505 dBm

- To calculate the theoretical dBm at each peak in power, the 600 ohm resistor must be taken into account now.

Peak 1:

Eq.10     P=VDC2R

P=1V2600 ohm

Eq.11            dBm=10logP1mW

dBm=10log1V2600ohm1mW

dBm=2.218 dBm

The theoretical value of the first peak is very close to the actual with only around 1% error.

Peak 2:

The second peak can be calculated the same way except this time using the amplitude of the sine wave in place of Vdc. This will give you the sme result as peak 1 (2.218dBm). The percent error is over 60% for this and that can be attributed to the sine wave actually have a lower amplitude than recorded.

The experimental power per peak:

Peak 1 magnitude: 3.245 dBm

Peak 2 magnitude: 1.33466 dBm

Peak 3 magnitude: -8.1897 dBm

Peak 4 magnitude: -12.65 dBm

- To calculate the first peak the formulae below was used:

PdBm=Vp2R

PdBm=1V600 ohm

PdBm=2.22 dBm

To calculate the next 3 peaks variable Vn was created.

Eq.11          Vn=2π*n

The overall power in dBm will than be calculated using equations 10 and 11 with Vn subbed in for VDC

PdBm=10logVn2600ohm*1mW

The theoretical power for each peak is as follows:

Peak 1 magnitude: 2.22 dBm

Peak 2 magnitude: -7.73 dBm

Peak 3 magnitude: -11.25 dBm

Peak 4 magnitude: -13.75 dBm

Comparing the theatrical and experimental power for each peak we can see that as the peak number goes up, the power declines. Although if you look at peak 2, we can only guess that the signal did not have enough time to settle as well as attenuation being a factor. Other than peak 2 all the other peaks are smaller than the experimental values and this can be attributed to attenuation as well.

- When the frequency was varied gaps between the peaks got bigger and was inversely proportional to the increase in frequency. An increase in amplitude caused the magnitude of the peaks to increase. As well an increase in the DC offset will increase the magnitude of the peaks. Finally, an increase in the duty cycle decreased the gaps between the peaks.