Experiment 1

Flow Through A Venturi Meter

Chuangxin Chen

101016643

Chuangxinchen@cmail.carleton.ca

Group 23

Partner: xiangyu zhu

Date: 2018/03/07

Summary:

The main goal of this experiment is to allow us learning and better understanding of how to use a manometer which is a one-dimensional flow pass through a flow-measurement device connected with multi-taps with static pressure to measure the pressure at each hole. Water level increasing when engine of Venturi meter is running. At this moment, we collect height of the water level of each tube, and measure distance between each hole, it can help us to calculate each cross-section area of each hole along Venturi meter. Those data collected from Venturi meter allow us to calculate the real flow by Bernoulli’s equation. It also let us compare the ideal, frictionless predictions actual flow of Venturi calculated by Bernoulli’s equation.

Nomenclature:

| Symbol | Definition |
| --- | --- |
| Patm(Pa) | Atmospheric Pressure |
| ρair(kg/m3) | Density air |
| P(1-16)(Pa) | Pressure of each taps |
| PP1-16(Pa) | Predicted pressure of each taps |
| ρ(kg/m3) | Flow density |
| Vair(m/s) | Velocity of air |
| V(1-16)(m/s) | Velocity flow of each taps |
| R(1-16)(m) | Radius of each taps |
| A(1-16)(m2) | Area of each taps |
| h(1-16)(m) | Height of each tubes |
| Qactual(m3/s) | Actual volume flow rate |
| Qideal(m3/s) | Ideal volume flow rate |
| Cv | Venturi coefficient |
| Ps | Static pressure |
| Pd | Dynamic pressure |
| Pstag | Stagnation Pressure |

Flow analysis:

| Tube # | Height of water level(low flow rate) (mm) | Height of water level(high flow rate) (mm) |
| --- | --- | --- |
| 1 | 127 | 150 |
| 2 | 128 | 152 |
| 3 | 134 | 165 |
| 4 | 143 | 181 |
| 5 | 157 | 211 |
| 6 | 178 | 250 |
| 7 | 220 | 354 |
| 8 | 240 | 388 |
| 9 | 312 | 538 |
| 10 | 260 | 406 |
| 11 | 216 | 332 |
| 12 | 192 | 284 |
| 13 | 182 | 260 |
| 14 | 172 | 237 |
| 15 | 164 | 222 |
| 16 | 158 | 210 |

|  | Videal | (m/s) | Vactual | (m/s) |
| --- | --- | --- | --- | --- |
| tube# | low flow rate | high flow rate | low flow rate | high flow rate |
| 1 | 23.428246 | 33.73386484 | 22.98997119 | 29.94852727 |
| 2 | 26.6163468 | 38.32434764 | 23.33570445 | 30.47863085 |
| 3 | 33.9906362 | 48.9424401 | 25.31112525 | 33.72179093 |
| 4 | 36.6775632 | 52.81129272 | 28.01428207 | 37.32854683 |
| 5 | 39.6848875 | 57.1414791 | 31.76521008 | 43.28868448 |
| 6 | 43.078534 | 62.02792321 | 36.67930518 | 49.98546728 |
| 7 | 46.9277567 | 67.57034221 | 44.92279091 | 64.53096077 |
| 8 | 51.9007569 | 74.73086627 | 48.35683688 | 68.62069659 |
| 9 | 59.137518 | 85.15093436 | 59.08941685 | 84.32822173 |
| 10 | 49.0540541 | 70.63195548 | 51.56268228 | 70.69012574 |
| 11 | 43.5343915 | 62.68430335 | 44.20397987 | 61.74047064 |
| 12 | 38.5085803 | 55.44773791 | 39.61817765 | 55.16431855 |
| 13 | 34.6393489 | 49.87650856 | 37.54246575 | 51.56268228 |
| 14 | 31.0412475 | 44.69567404 | 35.34506287 | 47.85744136 |
| 15 | 28.2167353 | 40.62871513 | 33.4834714 | 45.27791731 |
| 16 | 23.428246 | 33.73386484 | 32.01632237 | 43.10329312 |

| tube# | A(m^2) | D(m) | X(m) |
| --- | --- | --- | --- |
| 1 | 0.0005268 | 0.0259 | 0 |
| 2 | 0.0004637 | 0.0243 | 0.0254 |
| 3 | 0.0003631 | 0.0215 | 0.06858 |
| 4 | 0.0003365 | 0.0207 | 0.08128 |
| 5 | 0.000311 | 0.0199 | 0.09398 |
| 6 | 0.0002865 | 0.0191 | 0.10668 |
| 7 | 0.000263 | 0.0183 | 0.11958 |
| 8 | 0.0002378 | 0.0174 | 0.13208 |
| 9 | 0.0002087 | 0.0163 | 0.14986 |
| 10 | 0.0002516 | 0.0179 | 0.16764 |
| 11 | 0.0002835 | 0.019 | 0.18034 |
| 12 | 0.0003205 | 0.0202 | 0.19304 |
| 13 | 0.0003563 | 0.0213 | 0.20574 |
| 14 | 0.0003976 | 0.0225 | 0.21844 |
| 15 | 0.0004374 | 0.0236 | 0.23114 |
| 16 | 0.0005268 | 0.0259 | 0.25654 |

|  | P static (Pa) |  | P Dynamic（Pa） |  | P Stagnation (Pa) |  |
| --- | --- | --- | --- | --- | --- | --- |
| tube# | low flow rate | high flow rate | low flow rate | high flow rate | low flow rate | high flow rate |
| 1 | 100079.13 | 99853.5 | 323.73 | 549.36 | 100402.86 | 100402.86 |
| 2 | 100069.32 | 99833.88 | 333.54 | 568.98 | 100402.86 | 100402.86 |
| 3 | 100010.46 | 99706.35 | 392.4 | 696.51 | 100402.86 | 100402.86 |
| 4 | 99922.17 | 99549.39 | 480.69 | 853.47 | 100402.86 | 100402.86 |
| 5 | 99784.83 | 99255.09 | 618.03 | 1147.77 | 100402.86 | 100402.86 |
| 6 | 99578.82 | 98872.5 | 824.04 | 1530.36 | 100402.86 | 100402.86 |
| 7 | 99166.8 | 97852.26 | 1236.06 | 2550.6 | 100402.86 | 100402.86 |
| 8 | 98970.6 | 97518.72 | 1432.26 | 2884.14 | 100402.86 | 100402.86 |
| 9 | 98264.28 | 96047.22 | 2138.58 | 4355.64 | 100402.86 | 100402.86 |
| 10 | 98774.4 | 97342.14 | 1628.46 | 3060.72 | 100402.86 | 100402.86 |
| 11 | 99206.04 | 98068.08 | 1196.82 | 2334.78 | 100402.86 | 100402.86 |
| 12 | 99441.48 | 98538.96 | 961.38 | 1863.9 | 100402.86 | 100402.86 |
| 13 | 99539.58 | 98774.4 | 863.28 | 1628.46 | 100402.86 | 100402.86 |
| 14 | 99637.68 | 99000.03 | 765.18 | 1402.83 | 100402.86 | 100402.86 |
| 15 | 99716.16 | 99147.18 | 686.7 | 1255.68 | 100402.86 | 100402.86 |
| 16 | 99775.02 | 99264.9 | 627.84 | 1137.96 | 100402.86 | 100402.86 |

Disscussion

The apparatus for the Venturi meter comprises of a safety valve, rotameter, elbow, orifice meter, Venturi meter, manometer tappings, gate valve, manometer.  The supply line is connected to a gravimetric bench which is hydraulic in nature.  The flow gate is controlled by a gate valve.  This gate valve is located at the discharge end of the hydraulics bench.  Subsequently, the venturi meter, diffuser, orifice meter and the rotameter are set in a series.  The pressure taps located across the devices are connected to the vertical manometer tubes.  These tubes are located at the rear side of the apparatus, on a panel.  In turn, the discharge from the apparatus is returned back to the hydraulics bench.

The venture meter is primarily used to measure the flow of a fluid within the pipes.  It works on the principle of Bernoulli’s theorem.  According to the theorem, the pressure at a particular location in the pipe is inversely proportional to the velocity of flow of the fluid.  Hence, there is a difference in the rate of flow of the fluid in an actual situation as compared to an idealized situation.  An increase in pressure at any point in the cross-section of the tube leads to a reduction in the velocity of the fluid.  In an idealized situation, the pressure remains constant across all the cross-sections.  Hence, the fluid travels at a uniform velocity.  The difference of pressure between the upstream flow and the downstream flow is identified as Δh.  The orifice meter can be defined as a device which is used to throttle the normal pace of the fluid.  It creates a measurable pressure difference between the upstream and downstream sides.